## Sheet1
SHEDULE OF WORK
Name of Work: Replacement of existing overhead 11 kV distribution lines with underground cables and other allied works in English Bazar Municipality area alongwith area attached to KPS 33/11 KV Substation (Malda District) under the jurisdiction of Malda Division of WBSEDCL throgh turnkey mode.
Sl. No. | Item Description | Quantity | Units | Quoted Rate in Rs. P | TOTAL AMOUNT EXCLUDING GST
Replacement of existing overhead 11 kV distribution lines with underground cables and other allied works in English Bazar Municipality area alongwith area attached to KPS 33/11 KV Substation (Malda District) under the jurisdiction of Malda Division of WBSEDCL throgh turnkey mode.
Part-A | Material Part
1 | Supply & delivery of SCADA RMU, 11 KV outdoor non-extensible 3-way (2 LBS +1 OG) for 630KVA DTR as per technical specifications, scope of works and approved drawings. | 12 | SET | 809667.85 | 9716014.2
2 | Supply & delivery of SCADA RMU, 11 KV outdoor non-extensible 4-way (2 LBS +2 OG) for 630KVA DTR as per technical specifications, scope of works and approved drawings | 18 | SET | 881751.8 | 15871532.4
3 | Supply & delivery of 11 KV Grade 3 x 400 sq.mm XLPE Cable as per technical specifications, scope of works and approved drawings | 40.705 | KM | 2151847.64 | 87590958.19
4 | Supply & delivery of 11 KV Grade 3 x 185 sq.mm XLPE Cable as per technical specifications, scope of works and approved drawings | 63.75 | KM | 1213366.16 | 77352092.7
5 | Supply & delivery of Indoor type Heat shrinkable end Termination Jointing kit for 11 KV, 3C x 400 sq.mm XLPE Cable as per technical specifications, scope of works and approved drawings | 71 | NOS | 7403.76 | 525666.96
6 | Supply & delivery of Outdoor type Heat shrinkable end Termination Jointing kit for 11 KV, 3C x 400 sq.mm XLPE Cable as per technical specifications, scope of works and approved drawings | 22 | NOS | 8884.52 | 195459.44
7 | Supply & delivery of Heat shrinkable Straight Through Jointing kit for 11 KV, 3C x 400sq.mm XLPE Cable as per technical specifications, scope of works and approved drawings | 159 | NOS | 17551.25 | 2790648.75
8 | Supply & delivery of Outdoor type Heat shrinkable end Termination Jointing kit for 11 KV, 3C x 185 sq.mm XLPE Cable as per technical specifications, scope of works and approved drawings | 480 | NOS | 8061.74 | 3869635.2
9 | Supply & delivery of Indoor type Heat shrinkable end Termination Jointing kit for 11 KV, 3C x 185 sq.mm XLPE Cable as per technical specifications, scope of works and approved drawings. | 47 | NOS | 5758.81 | 270664.07
10 | Supply & delivery of Heat shrinkable Straight Through Jointing kit for 11 KV, 3C x 185 sq.mm XLPE Cable as per technical specifications, scope of works and approved drawings. | 20 | NOS | 16076.46 | 321529.2
11 | Supply & delivery of 11 kV Polymer PIN Insulator as per technical specifications, scope of works and approved drawings. | 2880 | NOS | 240.66 | 693100.8
12 | Supply & delivery of MS Channel (75X40 MM) as per technical specifications, scope of works and approved drawings. | 20.563 | MT | 108631.05 | 2233780.28
13 | Supply & delivery of MS Flat (65X6 MM) as per technical specifications, scope of works and approved drawings. | 3.571 | MT | 115986.09 | 414186.33
14 | Supply & delivery of MS Flat (65X6 MM) as per technical specifications, scope of works and approved drawings. | 480 | NOS | 363.26 | 174364.8
15 | Supply & delivery of GI Wire (5mm Wire) as per technical specifications, scope of works and approved drawings. | 1.68 | MT | 135109.75 | 226984.38
| Total of Part-A |  |  |  | 202246617.7
Part-B | Erection Part
16 | Survey of HT cable route | 102960 | M | 2.86 | 294465.6
17 | Laying and dressing of 11kV 3C 400SQMM XLPE cable. | 40705 | M | 65.5 | 2666177.5
18 | Laying and dressing of 11kV 3C 185SQMM XLPE cable. | 63750 | M | 54.94 | 3502425
19 | Making of indoor and outdoor end termination joint in 11kV 3C 400SQMM XLPE cable. | 93 | NOS | 2137.41 | 198779.13
20 | Making of straight through joint in 11kV 3C 400SQMM XLPE cable. | 159 | NOS | 2271.61 | 361185.99
21 | Making of indoor and outdoor end termination joint in 11kV 3C 185SQMM XLPE cable. | 527 | NOS | 1780.3 | 938218.1
22 | Making of straight through joint in 11kV 3C 185SQMM XLPE cable. | 20 | NOS | 2152.21 | 43044.2
23 | Making protective duct for cable joint | 179 | NOS | 9499.54 | 1700417.66
24 | Supply and erection of cast iron cable marker to identify UG cable location | 808 | NOS | 316.97 | 256111.76
25 | Supply and fixing of GI Pipe (100 MM Dia) for cable protection purpose | 2059 | M | 820.95 | 1690336.05
26 | Microtunneling work with laying of HDPE pipe as per instructuion of the site Engineer and site condition (160 MM Dia, PE-80, PN-6) for laying of UG cable along with supply of HDPE pipe. | 40285 | M | 1677.81 | 67590575.85
27 | Microtunneling work with laying of HDPE pipe as per instructuion of the site Engineer and site condition ( 110 MM Dia, PE-80, PN-6) for laying of UG cable along with supply of HDPE pipe. | 22559 | M | 1179.12 | 26599768.08
28 | Excavation of soil for formation of cable trench for laying of 11kV 3C 185SQMM XLPE cable. | 35580 | CUM | 21.13 | 751805.4
29 | Excavation of soil for formation of cable round and re-instatement of the same. | 2545.66 | CUM | 21.13 | 53789.8
30 | Supply and laying of 1st class kiln burnt bricks. | 99246 | NOS | 8.99 | 892221.54
31 | Making of RCC foundation for installation of outdoor 11 kV 3 way & 4 way RMU. | 30 | NOS | 25426.14 | 762784.2
32 | Erection of outdoor 11 kV 3 Way RMU. | 12 | SET | 10340.55 | 124086.6
33 | Erection of outdoor 11 kV 4 Way RMU. | 18 | SET | 13071.77 | 235291.86
34 | Earthing of outdoor 11 kV 3 Way & 4 Way RMU along with supply of earthing materials (GI pipe and GI flat). | 30 | NOS | 5322.95 | 159688.5
35 | Fixing of 11 kV PIN Insulator. | 2880 | NOS | 66.55 | 191664
36 | Earthing complete. | 480 | NOS | 330.7 | 158736
| Total of Part-B |  |  |  | 109171572.82
Total in Figures |  |  |  |  | 311418190.52
Ruppees Thirty One Crore Forteen Lakh Eighteen Thousand One Hundred Ninety and Fifty Two Paisa Only